## Slide 1: Avoid the pitfalls of pivoting between modalities
Emily Thompson, DPS Group
Faryal Khan, DPS Group
February 15, 2022

## Slide 2: AGENDA

## Slide 3
Industry Updates
Case Study
Conclusions
Novel Therapies Overview
Agenda

## Slide 4: INDUSTRY UPDATES
Novel Therapies

## Slide 5
Industry Updates
New modalities are driving innovation in biotechnology
Past
Small Molecules
Today
Small Molecules
Future
Small Molecules
Vaccines
Monoclonal Antibodies
Recombinant Proteins
Vaccines
Monoclonal Antibodies
Recombinant Proteins
Oligonucleotides
Gene Therapy
Cell Therapy
mRNA
Vaccines
Monoclonal Antibodies
Recombinant Proteins
Oligonucleotides
Gene Therapy
Cell Therapy
mRNA
Exosomes
Microbiome
Oncolytic Viruses
Gene Editing

## Slide 6
Manufacturing Capacity Crunch
Novel therapies/year are expected to be reviewed by the FDA by 2025
10-20
Viral vector manufacturing outsourced to CDMOs
80%
Lead time for CDMO manufacturing slots
18
month
50%
Cell therapy manufacturing outsourced to CDMOs

## Slide 7
Pre-Clinical
Clinical Phase I
Clinical Phase II/III
Commercialization
Product vs. Facility Lifecycle
New facilities are designed and constructed prior to product approval
Design
Construction
C&Q
Validation
First in Human
Tox (Mice)
File
BLA
File
IND
Commercial Runs

## Slide 8: NOVEL THERAPIES OVERVIEW
AND FACILITY DESIGN CONSIDERATIONS

## Slide 9
Novel Therapies Portfolio
WANT mRNA, CT, GT to be highlighted somehow. Other NT can fade
Gene therapy
Cell therapy
mRNA
Microbiomes
Oligonucleotides
Exosomes

## Slide 10
mRNA
(IVT)
plasmid
linearization
IVT
TFF
bulk fill
Digestion
TFF
chrom
cell expansion
depth filtration
chrom
TFF
fill/finish
vector production
CAR-T
Cell Therapy
apheresis
Viral Vector
Process Overview
gene transfer
expansion
harvest
cryopreservation

## Slide 11
Facility Design Considerations
Grade C
mRNA
Containment
Viral Vector
CAR-T
Cell Therapy
Biosafety level
BSL-1
BSL-2
BSL-2
GMP flows
Bidirectional
Unidirectional
Unidirectional
Special Considerations
Ethanol Handling
LN2 distribution
HVAC
Grade C/D
Grade B

## Slide 12: CASE STUDY

## Slide 13
Case Study – Introduction
3
1
Dedicated facility for potential COVID-19 mRNA vaccine
2
Facility
Results
Repurpose
Disappointing clinical trial results
Can the facility be repurposed for cell or gene therapy product manufacturing?

## Slide 14
Case Study - Layout
SUITE 4
SUITE 5
SUITE 6
PAL OUT
MAL OUT
SUITE 1
SUITE 2
SUITE 3
PAL IN
MAL IN
LOBBY/
OFFICES
LOCKER ROOM
WAREHOUSE
GRADE C
GRADE D
Overall unidirectional flow of personnel & materials
Bidirectional flow of personnel & materials within each production space
Production rooms had no airlocks to general corridor
Not BSL classified
Grade C background

## Slide 15
Case Study – Facility as Designed
Two floors – one mRNA production, second LNP formulation
Ceiling heights – 9 feet
Critical utilities
Modular pre-fabricated cleanrooms – already in construction!
Floor loading limited

## Slide 16
Case Study Challenges – Cell Therapy Retrofit
mRNA
CAR-T Cell Therapy
HVAC designation
Change/Impact
Grade C
Grade B
High
GMP flows
Bidirectional
Utilities
High
Low
Unidirectional
Ceiling height
Floor loading
None
Low
WFI, process gases
LN2
9 feet
Benchtop equipment
150 lb/ft2
No isolators

## Slide 17
Case Study Challenges – Gene Therapy Retrofit
mRNA
Viral Vector
HVAC designation
Change/Impact
Grade C
Grade C
None
GMP flows
Bidirectional
Utilities
High
Moderate
Unidirectional
Ceiling height
Floor loading
High
High
WFI, process gases
Decon autoclave, biowaste system
9 feet
Limits BRX to 250L
150 lb/ft2
Limits BRX to 250L
No isolator for fill/finish

## Slide 18: CONCLUSIONS

## Slide 19
Flexible Design
      Unidirectional flows
      Segregated PAL/MAL
      Design to BSL-2
      Dedicated air handlers
      Once-through air
      Grade C background
Suite 2
Suite 1
Suite 3
Suite 4
SUITE1
SUITE 4
SUITE 5
SUITE 6
SUITE 2
SUITE 3
MAL
MAL
MAL
PAL
PAL
PAL
MAL
MAL
MAL
PAL
PAL
PAL
MAL/
PAL
MAL/
PAL
MAL/
PAL
MAL/
PAL
MAL/
PAL
MAL/
PAL
SUPPLY CORRIDOR
RETURN CORRIDOR
RETURN CORRIDOR
LOBBY /OFFICES
WAREHOUSE
GRADE C
GRADE D

## Slide 20
Case Study – Conclusions
3
1
Dedicated facilities can be difficult to retrofit
2
Facility
Flexibility
Invest
Design for flexibility even if you don’t think you need it!
Pre-invest for future products and technology:
- HVAC flexibility
- Airlocks
- Ceiling height

## Slide 21
Contact Us
Emily Thompson, PE
US Director New Process Technology
DPS Group
emily.thompson@dpsgroupglobal.com
Faryal Khan
Process Engineer
DPS Group
faryal.khan@dpsgroupglobal.com