## Slide 1: Why Critical Data is More Secure FOR LIFE SCIENCES in the Cloud
Jeff Miller
Chief Technologist, Avid Solutions Inc.
3:00pm – 3:45pm
March 14, 2017

## Slide 2
A fast-growing system integrator specializing in industrial automation and information solutions.
Identifies and selects best-in-class platforms, designs and implements systems, and provides verification and validation documentation and services.
Turnkey capabilities include UL panel fabrication and installation and system commissioning.
Exceptional depth in PLC, HMI, DCS, and information applications in the following process industries: chemical, food & beverage, life sciences, power generation and pulp & paper.
Find out more at www.avidsolutionsinc.com.

## Slide 3
Jeff Miller
Background Information
Worked as cryptologist at Kunia Regional SIGINT
Operations Center in Hawaii
May 2013 - NSA employee Edward Snowden incident
Breach revealed system failure and lack of security
Information is not safe in private data centers
Public secure data centers are shifting the paradigm
Kunia Operations Center in Hawaii

## Slide 4
Public Data Centers
Access is tightly controlled
Secured by:
      Biometric Scanners
      Intrusion Detection Systems
      Two-factor Security
      Badge Readers
      Video Surveillance
      Mantraps
All hard drives are destroyed after decommissioning
via magnets and shredding
Physical Security
Mantrap
Restricted Access

## Slide 5
In traditional data centers – staff has many roles
        Problems can get overlooked
        Level of distraction/Lack of attention
In public data centers – staff is on hand 24/7
        Identifying failed hardware
        Leveraging technology that predicts failures
        Regularly executing proper system maintenance
Non-Dedicated Resources
System Maintenance

## Slide 6
Traditional Data Centers
      Rely on manual backups and local RAID
      Ask integrators for programs from
      projects completed years earlier
Public Data Centers
      Data is stored across servers, rooms and containers
      Data is replicated across different
      geographic locations
      Data can move; reducing network latency
Data Integrity

## Slide 7
Traditional Data Centers
        Power outages cause problems with servers, storage arrays and routing systems
        Generators are used for long term outages, but are not designed to keep data centers running
Public Data Centers
                Always on – powered by multiple sources
                Cooling systems only work on necessary components – saving energy
Data Availability
Generator
Cooling System

## Slide 8
Data Security
Public Data Centers
      Data is encrypted in transit and at rest
      So secure it is approved by the NSA to
      encrypt Top Secret information
      Data separated by:
          Customer
          Database
          Separate Networking Resources
      Network traffic directed to specific hosts

## Slide 9
But, as Amazon senior vice president of web services Andy Jassy told Fortune Magazine recently, news of Amazon's selection by the CIA gave other security-conscious companies cover to follow suit. "They would say 'well, if the security and performance is good [enough] for the CIA, then it's probably good enough for us’," Jassy said.
The future is the cloud - embrace it like a soft fluffy pillow.
Summary and Conclusions

## Slide 10: Jeff Miller Chief Technologist Avid Solutions Inc.
jmiller@avidsolutionsinc.com
Direct Line 919.228.6637